## Slide 1
Implications of
High Energy Proportional Servers on
Cluster-wide Energy Proportionality
Daniel Wong
Murali Annavaram
Ming Hsieh Department of Electrical Engineering
University of Southern California
HPCA-2014
Supported by

## Slide 2: Overview
Background
Part I – Effect of High EP Server on Cluster-wide EP
  Cluster-level Packing may hinder Cluster EP
Part II – Server-level Low Power Mode Scaling
  Active Low Power Mode can overcome multi-core scaling challenges
Conclusion
Overview | 2

## Slide 3: Background
Energy Proportionality and Cluster-level Techniques
Background | 3

## Slide 4: Background – EP Trends
Poor Server EP prompted Cluster-level techniques to mask Server EP and improve cluster-wide EP
  Ex. Packing techniques
Background | 4
How does Cluster-level techniques impact the perceived Energy Proportionality of Clusters?

## Slide 5: Background
Uniform Load Balancing
  Minimize response time
Util.
Util.
Util.
Util.
Background | 5

## Slide 6: Background
Uniform Load Balancing
  Cluster-wide EP tracks server EP
Util.
Util.
Util.
Util.
Server EP Curve
Cluster EP Curve
Background | 6
If Server’s EP is poor, then the Cluster’s EP will be poor

## Slide 7: Background
Turn on servers
when capacity needed
When server EP is poor, we need to mask the poor EP with Dynamic Capacity Management
  Uses Packing algorithms, to minimize active server
Util.
Util.
Util.
Util.
Server EP Curve
Cluster EP Curve
Turn off server
when not needed
Background | 7
Active servers run at higher utilization
Packing enables near-perfect cluster proportionality in the presence of low server EP

## Slide 8: Today server ep is getting better. what does this mean for cluster wide ep?
Part I –
Cluster-Wide EP | 8

## Slide 9: Cluster-wide EP Methodology
9-day utilization traces from various USC data center servers
  Significant low utilization periods
Evaluated 3 servers
  LowEP: EP = 0.24
  MidEP: EP = 0.73
  HighEP: EP = 1.05
  EP curve used as power model
  Modeled on/off power penalty
Cluster w/ 20 servers
Measured Util & Power @ 1min
Cluster-Wide EP | 9

## Slide 10: Measuring Energy Proportionality
Ideal EP = 1.0
Cluster-wide EP
  Take average at each util.
  3rd degree poly. best fit
Cluster-Wide EP | 10

## Slide 11: Cluster-wide EP Methodology
G/G/k queuing model based simulator
  Based on concept of Capability
Utilization trace as proxy for
time-varying arrival rate
Lack of service
request time in traces.
Service rate: Exp.
w/ mean of 1s
k represents capability of server.
Baseline, k = 100
Uniform L.B.
&
Packing (Autoscale)
30%
30n requests generated
Cluster-Wide EP | 11

## Slide 12: Packing techniques are highly effective
Uniform Cluster-wide EP tracks Server EP
When server EP is poor, packing improves Cluster-EP
  Turning off idle servers, higher util. for active servers
Uniform
Packing
LowEP (0.24) Server
Cluster EP
= 0.24
Cluster EP
= 0.69
Cluster-Wide EP | 12

## Slide 13: With server EP improvements??
Packing benefits diminish
Uniform
Packing
MidEP (0.73) Server
Cluster EP
= 0.73
Cluster EP
= 0.79
Cluster-Wide EP | 13

## Slide 14: With near perfect EP??
It may be favorable to forego cluster-level packing techniques
Uniform
Packing
HighEP (1.05) Server
Cluster EP
= 1.05
Cluster EP
= 0.82
Cluster-Wide EP | 14
We may have now reached a turning point where
servers alone may offer more energy proportionality
than cluster-level packing techniques can achieve

## Slide 15: Why Packing hinders Cluster-Wide EP
Servers has wakeup delays
Require standby servers to meet QoS levels
Cluster-Wide EP | 15

## Slide 16: Cluster-level Packing may hinder Cluster-Wide EP
Servers has wakeup delays
Require standby servers to meet QoS levels
By foregoing Cluster-level Packing,
Uniform Load Balancing
can expose underlying Server’s EP
Enable Server-level EP improvements to translate to Cluster-wide EP improvements
Cluster-Wide EP | 16

## Slide 17: KnightShift – Improving Server-level EP
Basic Idea -- fronts a high-power primary server with a low-power compute node, called the Knight
During low utilization work shifts to Knight node
During high utilization work shifts back to primary
Cluster-Wide EP | 17

## Slide 18: Cluster-EP with KnighShift
Previously, Cluster-level packing mask Server EP
If we forego Cluster-level packing, EP improvements by server-level low power modes can now translate into cluster-wide EP improvements!
Uniform
Average Power
= 890W
Average Power
= 505W
w/ KnightShift
Cluster-Wide EP | 18

## Slide 19: Part I – Take away
Cluster-level Packing techniques may hinder Cluster-wide EP by masking underlying Server’s EP
Server-level low power modes make it even more attractive to use Uniform Load Balancing
Cluster-Wide EP | 19

## Slide 20: Server-level Low Power Mode Scaling
Part II –
Low Power Mode Scaling | 20

## Slide 21: Server-level Inactive Low Power Modes
PowerNap – Sleep for fine-grain idle periods
PowerNap w/ Multi-Core
Core 1
Core 1
Core 2
Core 3
Core 4
Requests
Idle
Time
Naturally occurring idle periods are
disappearing with multi-core scaling
Low Power Mode Scaling | 21

## Slide 22: Server-level Inactive Low Power Modes
Core 1
Core 2
Core 3
Core 4
Idleness scheduling algorithms used to create artificial idle periods
Batching – Timeout-based queuing of requests
Dreamweaver – Batching + Preemption
Requests
Idle
Time
Batch
Core 1
Core 2
Core 3
Core 4
Low Power Mode Scaling | 22

## Slide 23: Core count vs Idle Periods
Apache workload @ 30% Utilization
As core count increases, idleness scheduling algorithms require greater latency penalty to remain effective
Possible Solution – Active Low Power Mode
Low Power Mode Scaling | 23

## Slide 24: Server-level Low Power Mode Challenges
Require tradeoff of response time
  Latency Slack: 99th percentile response time impact required before low power mode can be effective
As server core count increases, so does the required latency slack due to disappearing idle periods
How does increasing core count impact latency slack of various server-level low power modes?
Low Power Mode Scaling | 24

## Slide 25: Methodology
BigHouse simulator
  Stochastic queuing simulation
  Synthetic arrival/service traces
  4 workloads (Apache, DNS, Mail, Shell) derived from departmental servers
Low Power Mode Scaling | 25

## Slide 26: Effect of core count on energy savings
Latency slack vs Energy Savings tradeoff curves
Dreamweaver running Apache @ 30% Utilization
Chart: Normalized 99%tile Latency
| 1.0 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2.0 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3.0
2 | 0 | 0.11558 | 0.23117 | 0.34675 | 0.46234 | 0.45115 | 0.43997 | 0.42878 | 0.42878 | 0.42878 | 0.42878 | 0.42878 | 0.42878 | 0.42878 | 0.42878 | 0.42803 | 0.42841 | 0.42856 | 0.42871 | 0.42885 | 0.429
4 | 0 | 0.069238 | 0.13848 | 0.20771 | 0.27695 | 0.34619 | 0.41543 | 0.41688 | 0.41832 | 0.41977 | 0.42122 | 0.42267 | 0.42412 | 0.42477 | 0.42543 | 0.42608 | 0.42673 | 0.42738 | 0.42804 | 0.42869 | 0.42934
8 | 0 | 0.057929 | 0.11586 | 0.17379 | 0.23172 | 0.28965 | 0.34757 | 0.35561 | 0.36364 | 0.37167 | 0.37971 | 0.38774 | 0.39577 | 0.4032 | 0.41064 | 0.41403 | 0.41743 | 0.42083 | 0.42546 | 0.43009 | 0.43473
16 | 0 | 0.045861 | 0.091722 | 0.13758 | 0.18344 | 0.2293 | 0.27517 | 0.28589 | 0.2966 | 0.30732 | 0.31804 | 0.32876 | 0.33948 | 0.34963 | 0.35978 | 0.36738 | 0.37497 | 0.38629 | 0.39761 | 0.40526 | 0.4129
32 | 0 | 0.041985 | 0.083971 | 0.12596 | 0.16794 | 0.20993 | 0.2224 | 0.23486 | 0.24733 | 0.2598 | 0.27227 | 0.27857 | 0.28487 | 0.29117 | 0.30632 | 0.31222 | 0.31813 | 0.32403 | 0.32994 | 0.33841 | 0.34689
64 | 0 | 0.03954 | 0.079081 | 0.11862 | 0.15816 | 0.1675 | 0.17684 | 0.18618 | 0.19552 | 0.20486 | 0.2118 | 0.21874 | 0.22379 | 0.22884 | 0.23434 | 0.23983 | 0.24532 | 0.25125 | 0.25717 | 0.26687 | 0.27656
128 | 0 | 0.030496 | 0.060992 | 0.091489 | 0.12198 | 0.13021 | 0.13843 | 0.14665 | 0.14927 | 0.15189 | 0.15524 | 0.15654 | 0.15785 | 0.15915 | 0.15924 | 0.15933 | 0.15941 | 0.15837 | 0.15732 | 0.15628 | 0.15523
As core count increases, latency slack required to achieve
similar energy savings at low core count increases
At higher core counts, inactive low power modes become increasingly ineffective
Low Power Mode Scaling | 26

## Slide 27: Case Study w/ 32-core Server
Active Low Power Mode are dependent on low utilization periods
apache
Batching provides
linear tradeoff
Dreamweaver consistently
outperforms Batching
Knightshift consistently
performs best
3x
1.3x
Low Power Mode Scaling | 27

## Slide 28: 32-core Server
Apache
DNS
Mail
Shell
Server-level active low power modes outperform
inactive low power modes at every latency slack.
Low Power Mode Scaling | 28

## Slide 29: Sensitivity to Core Count
Active low power modes can sustain significant energy savings independent of core count and maintain low latency slack
Design space exploration of cores and latency slack vs energy savings
Dreamweaver
KnightShift
As core count increases, latency slack required to achieve
similar energy savings at low core counts increases drastically
Low Power Mode Scaling | 29

## Slide 30: Summary
Server-level low power modes challenges
  Multi-core scaling reduces idle cycles
  Server-level Active low power modes remain effective with multi-core scaling
Low Power Mode Scaling | 30

## Slide 31: Conclusion
Revisit effectiveness of Cluster-level Packing techniques
  Packing techniques are highly effective at masking server EP
  With improving server EP, it may be favorable to forego cluster-level packing techniques
  Enable server-level low power modes improvements to translate into cluster-wide improvements
Server-level low power modes challenges
  Multi-core scaling requires larger latency slack
  Server-level active low power modes outperform inactive low power modes at every latency slack.
Conclusion | 31

## Slide 32
Thank you!
Questions?
Conclusion | 32